## Sheet1
| Building Services Responsibility Matrix | Date: Revision #
OPERATIONS, MAINTENANCE & REPAIR RESPONSIBILITIES
| B0000 - Building Name | {{Building.NumBuildingName}}
| Address | {{Building.Address}}
| City | {{Building.City}}
| Property # & Name | {{Building.NandName}}
| Lease# (G Lease Number) | {{Building.G}}
| Owned or 3rd Party | {{Building.OwnedOr3rdParty}}
| O&M Responsibility | {{Building.OMresponsibility}}
| Building Tier: | {{Building.Tier}}
| Rentable Area: | {{Building.RentableArea}}
| Base Rent paid in CFA? | {{Building.BaseRentPaidInCFA}}
| Ministry | {{Building.Ministry}}
Legend
|  |  | {{.FC}} | {{.OM}} | {{.OM10k}} | {{.Cap10k}}
|  |  | FC | OM | OM10k | Cap10k
| N/A: Not applicable |  | {{ | }}
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
1 | BUILDING OR ENGINEERING STRUCTURES | A combination of systems forming the structure or fabric of a building or engineered structure and not forming part of the systems listed elsewhere, serving a common base building function. | [5 empty] | 1
1.1 | Foundations/Structural components | Portion of a structure specifically designed to ensure the transmission and distribution of structural forces to a suitable load-bearing surface. | {{1.01Foundations/Structural components.FC}} | {{1.01Foundations/Structural components.OM}} | {{1.01Foundations/Structural components.OM10k}} | {{1.01Foundations/Structural components.Cap10k}} | Comment only if Joint Responsibility is determined | 1.01
1.2 | Roofs | Including structural framing, decking, insulation, vapor barriers and caulking associated with a roofing system. | {{1.02Roofs.FC}} | {{1.02Roofs.OM}} | {{1.02Roofs.OM10k}} | {{1.02Roofs.Cap10k}} | Comment only if Joint Responsibility is determined | 1.02
1.3 | Roof Anchors | Permanently attached anchorage connector on structures to be used as part of a personal fall arrest or restraint system. | {{1.03Roof Anchors.FC}} | {{1.03Roof Anchors.OM}} | {{1.03Roof Anchors.OM10k}} | {{1.03Roof Anchors.Cap10k}} | Comment only if Joint Responsibility is determined | 1.03
1.4 | Main Doors/Windows | Including all hardware, frames, components and caulking, but excluding short term decorative and protective finishes (paint, etc.). | {{1.04Main Doors/Windows.FC}} | {{1.04Main Doors/Windows.OM}} | {{1.04Main Doors/Windows.OM10k}} | {{1.04Main Doors/Windows.Cap10k}} | Comment only if Joint Responsibility is determined | 1.04
1.5 | Overhead (vehicle) doors including Hangar doors | Large access doors and associated operating equipment. | {{1.05Overhead vehicle doors including Hangar doors.FC}} | {{1.05Overhead vehicle doors including Hangar doors.OM}} | {{1.05Overhead vehicle doors including Hangar doors.OM10k}} | {{1.05Overhead vehicle doors including Hangar doors.Cap10k}} | Comment only if Joint Responsibility is determined | 1.05
1.6 | Interior Finishes Common Areas | Decorative, protective and other applied finishes of a short term replacement nature, not related to the structural stability of a building or structure, including paint, wall coverings, decorative board floor finishes etc. | {{1.06Interior Finishes Common Areas.FC}} | {{1.06Interior Finishes Common Areas.OM}} | {{1.06Interior Finishes Common Areas.OM10k}} | {{1.06Interior Finishes Common Areas.Cap10k}} | Comment only if Joint Responsibility is determined | 1.06
1.7 | Interior Finishes Office Area (ministry space ) | Interior finishes within office area. Paint, carpet, décor. | {{1.07Interior Finishes Office Area ministry space.FC}} | {{1.07Interior Finishes Office Area ministry space.OM}} | {{1.07Interior Finishes Office Area ministry space.OM10k}} | {{1.07Interior Finishes Office Area ministry space.Cap10k}} | Comment only if Joint Responsibility is determined | 1.07
1.8 | Exterior Cladding/Finishes | Exterior applied finishes. | {{1.08Exterior Cladding/Finishes.FC}} | {{1.08Exterior Cladding/Finishes.OM}} | {{1.08Exterior Cladding/Finishes.OM10k}} | {{1.08Exterior Cladding/Finishes.Cap10k}} | Comment only if Joint Responsibility is determined | 1.08
1.9 | Furniture, Furnishings and Drapes (in common areas only) | Furniture, furnishings and drapes contained in common use areas defined as the responsibility of the Landlord including entrance lobbies, common use meeting rooms, first aid rooms, cafeterias, artwork etc. | {{1.09Furniture Furnishings and Drapes in common areas only.FC}} | {{1.09Furniture Furnishings and Drapes in common areas only.OM}} | {{1.09Furniture Furnishings and Drapes in common areas only.OM10k}} | {{1.09Furniture Furnishings and Drapes in common areas only.Cap10k}} | Comment only if Joint Responsibility is determined | 1.09
1.1 | Floor coverings & finishes | Including floor finish and the application of finishes for cleaning purposes (polishing and waxing). | {{1.1Floor coverings/finishes.FC}} | {{1.1Floor coverings/finishes.OM}} | {{1.1Floor coverings/finishes.OM10k}} | {{1.1Floor coverings/finishes.Cap10k}} | Comment only if Joint Responsibility is determined | 1.1
1.11 | Ceiling Finishes | The overhead lining and decoration of rooms and/or spaces including : Preparatory work; false ceilings; stair and landing soffits; acoustic linings; extra costs of off-form concrete; linings to roof lights; ceiling manholes; bulkhead framing and linings; cornices. etc. | {{1.11Ceiling Finishes.FC}} | {{1.11Ceiling Finishes.OM}} | {{1.11Ceiling Finishes.OM10k}} | {{1.11Ceiling Finishes.Cap10k}} | Comment only if Joint Responsibility is determined | 1.11
1.12 | Building Identification Signs, Internal Directories, room numbering, etc. (common area signage) | Identification signs common to building general attached to a building or engineered structure internally or externally, internal directories and boards, room numbering and identification signs. Excluding freestanding external signs listed elsewhere. | {{1.12Building Identification Signs Internal Directories room numbering etc. common area signage.FC}} | {{1.12Building Identification Signs Internal Directories room numbering etc. common area signage.OM}} | {{1.12Building Identification Signs Internal Directories room numbering etc. common area signage.OM10k}} | {{1.12Building Identification Signs Internal Directories room numbering etc. common area signage.Cap10k}} | Comment only if Joint Responsibility is determined | 1.12
1.13 | Property, Directional or Identification Signs not attached to buildings and flagpoles. | Including freestanding identification, directional traffic and control signage. | {{1.13Property Directional or Identification Signs not attached to buildings and flagpoles..FC}} | {{1.13Property Directional or Identification Signs not attached to buildings and flagpoles..OM}} | {{1.13Property Directional or Identification Signs not attached to buildings and flagpoles..OM10k}} | {{1.13Property Directional or Identification Signs not attached to buildings and flagpoles..Cap10k}} | IO responsible for the flagpole, flag pole hardware and foundation | 1.13
1.14 | Other |  | {{1.14Other.FC}} | {{1.14Other.OM}} | {{1.14Other.OM10k}} | {{1.14Other.Cap10k}} | Comment only if Joint Responsibility is determined | 1.14
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
2 | MECHANICAL SYSTEMS | A combination of components providing systems necessary for the creation of suitable environmental conditions, the treatment, distribution, use and disposal of water; the distribution, treatment and disposal of sewage, serving a common base building function. | [5 empty] | 2
2.1 | Environmental Controls, Instrumentation & Building Automation Systems | Electric, electronic, pneumatic and related systems required for the control of environmental conditioning air compressors and centralized monitoring and control computer systems, including software. | {{2.01Environmental Controls Instrumentation / Building Automation Systems.FC}} | {{2.01Environmental Controls Instrumentation / Building Automation Systems.OM}} | {{2.01Environmental Controls Instrumentation / Building Automation Systems.OM10k}} | {{2.01Environmental Controls Instrumentation / Building Automation Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 2.01
2.2 | Heating Systems | Including the provision of heating, incorporating indoor and/or outdoor heating distribution systems, power plant equipment, boiler room controls, gas and oil piping and storage, unit heaters, furnaces, furnace controls and regulating equipment. | {{2.02Heating Systems.FC}} | {{2.02Heating Systems.OM}} | {{2.02Heating Systems.OM10k}} | {{2.02Heating Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 2.02
2.3 | Air Conditioning | Including air conditioning, central systems, chillers, package units, window units, incorporating distribution air systems, refrigeration systems and associated equipment, together with cooling towers, air handling units, roof top condensers and water treatment; excluding heating coils or related devices which should be charged to Heating Systems, and excluding environmental control systems. | {{2.03Air Conditioning .FC}} | {{2.03Air Conditioning .OM}} | {{2.03Air Conditioning .OM10k}} | {{2.03Air Conditioning .Cap10k}} | Comment only if Joint Responsibility is determined | 2.03
2.4 | Humidification System | Systems designed to put moisture into the air to maintain a comfortable indoor environment. | {{2.04Humidification System.FC}} | {{2.04Humidification System.OM}} | {{2.04Humidification System.OM10k}} | {{2.04Humidification System.Cap10k}} | Comment only if Joint Responsibility is determined | 2.04
2.5 | Chemical treatment of closed loop mechanical systems | Process to chemically treat water within HVAC heating/cooling systems. This will improve the efficiency and extend the lifespan of the equipment. | {{2.05Chemical treatment of closed loop mechanical systems.FC}} | {{2.05Chemical treatment of closed loop mechanical systems.OM}} | {{2.05Chemical treatment of closed loop mechanical systems.OM10k}} | {{2.05Chemical treatment of closed loop mechanical systems.Cap10k}} | Comment only if Joint Responsibility is determined | 2.05
2.6 | Ventilating/ Exhaust Systems | HVAC ducts and components associated with providing a comfortable indoor environment. | {{2.06Ventilating/ Exhaust Systems .FC}} | {{2.06Ventilating/ Exhaust Systems .OM}} | {{2.06Ventilating/ Exhaust Systems .OM10k}} | {{2.06Ventilating/ Exhaust Systems .Cap10k}} | Comment only if Joint Responsibility is determined | 2.06
2.8 | Domestic Water Purification or Filtration Systems | Systems for the purification of domestic drinking water. Filtration, reverse osmosis, ultra violet systems. | {{2.08Domestic Water Purification or Filtration Systems.FC}} | {{2.08Domestic Water Purification or Filtration Systems.OM}} | {{2.08Domestic Water Purification or Filtration Systems.OM10k}} | {{2.08Domestic Water Purification or Filtration Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 2.08
2.9 | Domestic Water Distribution Systems | Including cold-water outdoor distribution systems, water pumping stations and potable water treatment serving the building and tenants. | {{2.09Domestic Water Distribution Systems .FC}} | {{2.09Domestic Water Distribution Systems .OM}} | {{2.09Domestic Water Distribution Systems .OM10k}} | {{2.09Domestic Water Distribution Systems .Cap10k}} | Comment only if Joint Responsibility is determined | 2.09
2.1 | Plumbing Systems (including back flow prevention) | Systems providing hot and cold domestic water within a building, including plumbing fixtures, drinking fountains, water pressure tanks and lawn sprinkler systems serving building grounds, but excluding fire sprinkler systems. | {{2.1Plumbing Systems including back flow prevention.FC}} | {{2.1Plumbing Systems including back flow prevention.OM}} | {{2.1Plumbing Systems including back flow prevention.OM10k}} | {{2.1Plumbing Systems including back flow prevention.Cap10k}} | Comment only if Joint Responsibility is determined | 2.1
2.11 | Backflow Preventers | Backflow protection for base building plumbing systems or program equipment. Specify in comments. | {{2.11Backflow Preventers.FC}} | {{2.11Backflow Preventers.OM}} | {{2.11Backflow Preventers.OM10k}} | {{2.11Backflow Preventers.Cap10k}} | Comment only if Joint Responsibility is determined | 2.11
2.12 | Plumbing Fixtures ( specialized ) | Detention Center, Courthouse, Youth Detention Center, Fish Hatchery plumbing fixtures ( security / tamper proof / specialized) | {{2.12Plumbing Fixtures specialized .FC}} | {{2.12Plumbing Fixtures specialized .OM}} | {{2.12Plumbing Fixtures specialized .OM10k}} | {{2.12Plumbing Fixtures specialized .Cap10k}} | Comment only if Joint Responsibility is determined | 2.12
2.13 | Domestic Water – Bleed off systems | Components designed to remove excess water or air pressure within a domestic water system. | {{2.13Domestic Water Bleed off systems.FC}} | {{2.13Domestic Water Bleed off systems.OM}} | {{2.13Domestic Water Bleed off systems.OM10k}} | {{2.13Domestic Water Bleed off systems.Cap10k}} | Comment only if Joint Responsibility is determined | 2.13
2.14 | Pumps and Pits | Locations for sump pumps to control high water levels and prevent flooding. | {{2.14Pumps and Pits.FC}} | {{2.14Pumps and Pits.OM}} | {{2.14Pumps and Pits.OM10k}} | {{2.14Pumps and Pits.Cap10k}} | Comment only if Joint Responsibility is determined | 2.14
2.15 | Air compressors and air dyers | Air compressors for base building systems or program equipment including filtration. Specify in comments. | {{2.15Air compressors and air dyers.FC}} | {{2.15Air compressors and air dyers.OM}} | {{2.15Air compressors and air dyers.OM10k}} | {{2.15Air compressors and air dyers.Cap10k}} | Comment only if Joint Responsibility is determined | 2.15
2.16 | Other |  | {{2.16Other.FC}} | {{2.16Other.OM}} | {{2.16Other.OM10k}} | {{2.16Other.Cap10k}} | Comment only if Joint Responsibility is determined | 2.16
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
3 | ELECTRICAL SYSTEMS | A combination of electrically associated sub-components not forming part of a high-tension distribution system and not specifically listed elsewhere as a sub-component, serving a common base building function. | [5 empty] | 3
3.1 | High Tension Distribution and Substation Systems | Including indoor and outdoor electrical substations, main switchgear, substation structures, associated equipment and distribution, both underground and overhead exceeding 600 volts. | {{3.01High Tension Distribution and Substation Systems.FC}} | {{3.01High Tension Distribution and Substation Systems.OM}} | {{3.01High Tension Distribution and Substation Systems.OM10k}} | {{3.01High Tension Distribution and Substation Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 3.01
3.2 | Low Tension Distribution Systems (less than 600volts) | Including service entrance equipment, building distribution systems, electrical equipment, general indoor lighting systems. Excluding electrical systems forming part of the systems or equipment under separate cost classifications covered under high tension distribution and substation systems. Under 600 volts. | {{3.02Low Tension Distribution Systems less than 600volts.FC}} | {{3.02Low Tension Distribution Systems less than 600volts.OM}} | {{3.02Low Tension Distribution Systems less than 600volts.OM10k}} | {{3.02Low Tension Distribution Systems less than 600volts.Cap10k}} | Comment only if Joint Responsibility is determined | 3.02
3.3 | Main substation systems | All components of electrical substation required to reduce power from main feed to usable load required for facility operation. | {{3.03Main substation systems.FC}} | {{3.03Main substation systems.OM}} | {{3.03Main substation systems.OM10k}} | {{3.03Main substation systems.Cap10k}} | Comment only if Joint Responsibility is determined | 3.03
3.4 | Outdoor Lighting Systems | Including road lighting and flood lighting with associated equipment and components. Identify Base building vs. program lighting areas. | {{3.04Outdoor Lighting Systems.FC}} | {{3.04Outdoor Lighting Systems.OM}} | {{3.04Outdoor Lighting Systems.OM10k}} | {{3.04Outdoor Lighting Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 3.04
3.5 | Indoor Lighting | Interior lighting systems. Including program and common areas. | {{3.05Indoor Lighting.FC}} | {{3.05Indoor Lighting.OM}} | {{3.05Indoor Lighting.OM10k}} | {{3.05Indoor Lighting.Cap10k}} | Comment only if Joint Responsibility is determined | 3.05
3.6 | Electrical Generating Plants (Generators/ not used for Life Safety) | Including prime movers, generators, transfer switch, generating plant, control equipment, load banks, fuel supply systems, along with cost of fuel to generator excluding electrical distribution systems. | {{3.06Electrical Generating Plants Generators/ not used for Life Safety.FC}} | {{3.06Electrical Generating Plants Generators/ not used for Life Safety.OM}} | {{3.06Electrical Generating Plants Generators/ not used for Life Safety.OM10k}} | {{3.06Electrical Generating Plants Generators/ not used for Life Safety.Cap10k}} | Comment only if Joint Responsibility is determined | 3.06
3.7 | Heat Trace | Heat trace used in special circumstances to prevent freezing of pipes or ice control on roofs. | {{3.07Heat Trace.FC}} | {{3.07Heat Trace.OM}} | {{3.07Heat Trace.OM10k}} | {{3.07Heat Trace.Cap10k}} | Comment only if Joint Responsibility is determined | 3.07
3.8 | Other |  | {{3.08Other.FC}} | {{3.08Other.OM}} | {{3.08Other.OM10k}} | {{3.08Other.Cap10k}} | Comment only if Joint Responsibility is determined | 3.08
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
4 | SPECIALIZED BUILDING SYSTEMS | A combination of components consisting of specialized engineered systems providing an essential service and requiring a high level of technical expertise, serving a common base building function. | [5 empty] | 4
4.1 | Elevating Devices | Elevators, escalators and all components for various lifting devices Including dumb waiters and hoists. Specify in comments. | {{4.01Elevating Devices.FC}} | {{4.01Elevating Devices.OM}} | {{4.01Elevating Devices.OM10k}} | {{4.01Elevating Devices.Cap10k}} | Comment only if Joint Responsibility is determined | 4.01
4.2 | Specialized Exhaust System | Exhaust systems could include Kitchen exhaust systems and Lab fume hoods etc. | {{4.02Specialized Exhaust System.FC}} | {{4.02Specialized Exhaust System.OM}} | {{4.02Specialized Exhaust System.OM10k}} | {{4.02Specialized Exhaust System.Cap10k}} | Comment only if Joint Responsibility is determined | 4.02
4.3 | Security Doors and Windows | Program specific doors/windows designed to provide required security levels within a faculty. | {{4.03Security Doors and Windows.FC}} | {{4.03Security Doors and Windows.OM}} | {{4.03Security Doors and Windows.OM10k}} | {{4.03Security Doors and Windows.Cap10k}} | IO resonsible for base building windows and doord. Minisrty responsible for the security component or design. | 4.03
4.4 | Specialized Security Systems | Security systems specifically designed to meet the program needs (i.e.. razor wire). | {{4.04Specialized Security Systems.FC}} | {{4.04Specialized Security Systems.OM}} | {{4.04Specialized Security Systems.OM10k}} | {{4.04Specialized Security Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 4.04
4.5 | Video Security Systems | Cameras, monitors and associated components of a viewable electronic security system | {{4.05Video Security Systems.FC}} | {{4.05Video Security Systems.OM}} | {{4.05Video Security Systems.OM10k}} | {{4.05Video Security Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 4.05
4.6 | Grease / Sand traps | Grease traps (also known as grease interceptors, grease recovery devices and grease converters) are plumbing devices designed to intercept most greases and solids before they enter a wastewater disposal system. | {{4.06Grease / Sand traps.FC}} | {{4.06Grease / Sand traps.OM}} | {{4.06Grease / Sand traps.OM10k}} | {{4.06Grease / Sand traps.Cap10k}} | Comment only if Joint Responsibility is determined | 4.06
4.7 | Water Well Monitoring & Testing | Mandatory testing of well supplied domestic drinking water | {{4.07Water Well Monitoring / Testing.FC}} | {{4.07Water Well Monitoring / Testing.OM}} | {{4.07Water Well Monitoring / Testing.OM10k}} | {{4.07Water Well Monitoring / Testing.Cap10k}} | Comment only if Joint Responsibility is determined | 4.07
4.8 | Sewage Treatment | Sanitary and storm systems, treatment systems for buildings not connected to Municipal systems. | {{4.08Sewage Treatment .FC}} | {{4.08Sewage Treatment .OM}} | {{4.08Sewage Treatment .OM10k}} | {{4.08Sewage Treatment .Cap10k}} | Comment only if Joint Responsibility is determined | 4.08
4.9 | Disposal/Septic Systems | Would include Septic bed, Septic tank and auger grinders, etc. | {{4.09Disposal/Septic Systems.FC}} | {{4.09Disposal/Septic Systems.OM}} | {{4.09Disposal/Septic Systems.OM10k}} | {{4.09Disposal/Septic Systems.Cap10k}} | If facility has a grinder pump it would be minisrty responsibility | 4.09
4.1 | Domestic Water Treatment Plant | Treatment plant for domestic water supply for buildings not on municipal water supply. | {{4.1Domestic Water Treatment Plant.FC}} | {{4.1Domestic Water Treatment Plant.OM}} | {{4.1Domestic Water Treatment Plant.OM10k}} | {{4.1Domestic Water Treatment Plant.Cap10k}} | Comment only if Joint Responsibility is determined | 4.1
4.11 | Dust extractor and suppression system | An air quality improvement component part of a larger HVAC system | {{4.11Dust extractor and suppression system.FC}} | {{4.11Dust extractor and suppression system.OM}} | {{4.11Dust extractor and suppression system.OM10k}} | {{4.11Dust extractor and suppression system.Cap10k}} | Comment only if Joint Responsibility is determined | 4.11
4.12 | Kitchen Suppression System | Integrated combination of a fire alarm and fire suppression equipment that once triggered by; predetermined temperatures, rate of temperature rise, products of combustion, flame or human intervention will discharge a fire extinguishing substance over the fire area. | {{4.12Kitchen Suppression System.FC}} | {{4.12Kitchen Suppression System.OM}} | {{4.12Kitchen Suppression System.OM10k}} | {{4.12Kitchen Suppression System.Cap10k}} | Comment only if Joint Responsibility is determined | 4.12
4.13 | Walk in Freezers/ Fridges | Freezers designed for the preservation of large quantities of perishable food product | {{4.13Walk in Freezers/ Fridges.FC}} | {{4.13Walk in Freezers/ Fridges.OM}} | {{4.13Walk in Freezers/ Fridges.OM10k}} | {{4.13Walk in Freezers/ Fridges.Cap10k}} | Comment only if Joint Responsibility is determined | 4.13
4.14 | Dock levelers | As found in receiving area and loading docks. | {{4.14Dock levelers .FC}} | {{4.14Dock levelers .OM}} | {{4.14Dock levelers .OM10k}} | {{4.14Dock levelers .Cap10k}} | Comment only if Joint Responsibility is determined | 4.14
4.15 | Compactors | For the recycling and waste compaction. | {{4.15Compactors.FC}} | {{4.15Compactors.OM}} | {{4.15Compactors.OM10k}} | {{4.15Compactors.Cap10k}} | Comment only if Joint Responsibility is determined | 4.15
4.16 | Pumping out of Lagoons | The act of removing the wastewater from the pond and septic system. | {{4.16Pumping out of Lagoons.FC}} | {{4.16Pumping out of Lagoons.OM}} | {{4.16Pumping out of Lagoons.OM10k}} | {{4.16Pumping out of Lagoons.Cap10k}} | Comment only if Joint Responsibility is determined | 4.16
4.17 | Other |  | {{4.17Other.FC}} | {{4.17Other.OM}} | {{4.17Other.OM10k}} | {{4.17Other.Cap10k}} | Comment only if Joint Responsibility is determined | 4.17
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
5 | LIFE SAFETY | Those construction, protection, and occupancy features necessary to minimize danger to life from the effects of fire, including smoke, heat, and toxic gases created during a fire. The standard does not address the "general fire prevention or building construction features that are normally a function of fire prevention codes and building codes". | [5 empty] | 5
5.1 | Electrical Generating Plants – Stand-by Generator | Required to provide electrical back-up power in the event of a power outage. IO responsible to provide emergency power for base building life safety systems where required by code. | {{5.01Electrical Generating Plants Standby Generator.FC}} | {{5.01Electrical Generating Plants Standby Generator.OM}} | {{5.01Electrical Generating Plants Standby Generator.OM10k}} | {{5.01Electrical Generating Plants Standby Generator.Cap10k}} | Comment only if Joint Responsibility is determined | 5.01
5.2 | Fire Alarms | Required by Code: including fire alarm equipment, interconnecting wiring and connection to fire hall or central station facilities, including telephone line rental and voice communications, smoke and heat detectors, and excluding utility supply connection and engine driven generator supply. | {{5.02Fire Alarms .FC}} | {{5.02Fire Alarms .OM}} | {{5.02Fire Alarms .OM10k}} | {{5.02Fire Alarms .Cap10k}} | Comment only if Joint Responsibility is determined | 5.02
5.3 | Fire Plan | Responsibility for the deployment, maintenance and exercising the building`s fire safety plan. | {{5.03Fire Plan.FC}} | {{5.03Fire Plan.OM}} | {{5.03Fire Plan.OM10k}} | {{5.03Fire Plan.Cap10k}} | Comment only if Joint Responsibility is determined | 5.03
5.4 | Fire Protection Systems :Sprinklers, Hydrants, Standpipes and fixed fire extinguishing systems | Components required for facility fire protection/prevention Including life safety systems. | {{5.04Fire Protection Systems Sprinklers Hydrants Standpipes and fixed fire extinguishing systems.FC}} | {{5.04Fire Protection Systems Sprinklers Hydrants Standpipes and fixed fire extinguishing systems.OM}} | {{5.04Fire Protection Systems Sprinklers Hydrants Standpipes and fixed fire extinguishing systems.OM10k}} | {{5.04Fire Protection Systems Sprinklers Hydrants Standpipes and fixed fire extinguishing systems.Cap10k}} | Comment only if Joint Responsibility is determined | 5.04
5.5 | Fuel Storage Tanks | Fuel storage tanks used for heating and/or back up generators in the event of main power outages. | {{5.05Fuel Storage Tanks .FC}} | {{5.05Fuel Storage Tanks .OM}} | {{5.05Fuel Storage Tanks .OM10k}} | {{5.05Fuel Storage Tanks .Cap10k}} | Minsrty responsible for generator fuel tanks. IO responsible for heating fuel tanks | 5.05
5.6 | Duress Alarms | Electronic device designed to assist in alerting somebody in emergency situations where a threat to a person/people or property exists. | {{5.06Duress Alarms.FC}} | {{5.06Duress Alarms.OM}} | {{5.06Duress Alarms.OM10k}} | {{5.06Duress Alarms.Cap10k}} | Comment only if Joint Responsibility is determined | 5.06
5.7 | Emergency and Exit Lighting | Battery- backed lighting device that switches on automatically when a building experience a power loss. Exit lights are a device that denotes the location of the closet emergency exit in the case of fire or other emergency. | {{5.07Emergency and Exit Lighting .FC}} | {{5.07Emergency and Exit Lighting .OM}} | {{5.07Emergency and Exit Lighting .OM10k}} | {{5.07Emergency and Exit Lighting .Cap10k}} | Comment only if Joint Responsibility is determined | 5.07
5.8 | Other |  | {{5.08Other.FC}} | {{5.08Other.OM}} | {{5.08Other.OM10k}} | {{5.08Other.Cap10k}} | Comment only if Joint Responsibility is determined | 5.08
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
6 | GROUNDS AND APPROACHES | Items of a non-horticultural nature associated with the grounds of an installation, building or structure. | [5 empty] | 6
6.1 | Snow Plowing / Ice Control | Snow and ice removal from walks, paths, roads, parking lots, paved and graveled areas, including the spreading of materials for purposes of traction and snow and ice melting, including fencing installed for snow control purposes. | {{6.01Snow Plowing / Ice Control.FC}} | {{6.01Snow Plowing / Ice Control.OM}} | {{6.01Snow Plowing / Ice Control.OM10k}} | {{6.01Snow Plowing / Ice Control.Cap10k}} | Comment only if Joint Responsibility is determined | 6.01
6.2 | Snow Removal | Extra snow removal from site when required | {{6.02Snow Removal.FC}} | {{6.02Snow Removal.OM}} | {{6.02Snow Removal.OM10k}} | {{6.02Snow Removal.Cap10k}} | Comment only if Joint Responsibility is determined | 6.02
6.3 | Roads, Walks, and Parking Lots & Curbs | Including paved, graveled, dirt roads and parking lots, driveways, sidewalks, walks, gutters, line painting, etc. | {{6.03Roads Walks and Parking Lots / Curbs.FC}} | {{6.03Roads Walks and Parking Lots / Curbs.OM}} | {{6.03Roads Walks and Parking Lots / Curbs.OM10k}} | {{6.03Roads Walks and Parking Lots / Curbs.Cap10k}} | Comment only if Joint Responsibility is determined | 6.03
6.4 | Exterior Landscaping features | Decorative walls, retaining walls, water features etc. | {{6.04Exterior Landscaping features.FC}} | {{6.04Exterior Landscaping features.OM}} | {{6.04Exterior Landscaping features.OM10k}} | {{6.04Exterior Landscaping features.Cap10k}} | Comment only if Joint Responsibility is determined | 6.04
6.5 | Perimeter Fencing (Property Line Fencing not program) | Fencing around the exterior of a facility designed to control access. Including property line fencing and grounds fencing required to control or restrict entry and exit. | {{6.05Perimeter Fencing Property Line Fencing not program .FC}} | {{6.05Perimeter Fencing Property Line Fencing not program .OM}} | {{6.05Perimeter Fencing Property Line Fencing not program .OM10k}} | {{6.05Perimeter Fencing Property Line Fencing not program .Cap10k}} | Comment only if Joint Responsibility is determined | 6.05
6.6 | Security Fencing, Gates & Controls | Program specific fencing and gates. Could be part of a property security system and include program specific requirements (i.e.. razor wire, towers etc.) Excluding fencing for snow control and client/tenant program function. | {{6.06Security Fencing Gates / Controls.FC}} | {{6.06Security Fencing Gates / Controls.OM}} | {{6.06Security Fencing Gates / Controls.OM10k}} | {{6.06Security Fencing Gates / Controls.Cap10k}} | Comment only if Joint Responsibility is determined | 6.06
6.7 | Storm Water Drainage Systems | Systems including storm sewers and underground drains, pump drives and related water drainage system but excluding surface water drainage listed elsewhere. | {{6.07Storm Water Drainage Systems.FC}} | {{6.07Storm Water Drainage Systems.OM}} | {{6.07Storm Water Drainage Systems.OM10k}} | {{6.07Storm Water Drainage Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 6.07
6.8 | Irrigation Systems | Outdoor components for watering grounds and flower beds. | {{6.08Irrigation Systems.FC}} | {{6.08Irrigation Systems.OM}} | {{6.08Irrigation Systems.OM10k}} | {{6.08Irrigation Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 6.08
6.9 | Catch Basins / Man Holes/ Oil Interceptors | Underground catchment area for storm water run off or access to underground utility services. | {{6.09Catch Basins / Man Holes/ Oil Interceptors.FC}} | {{6.09Catch Basins / Man Holes/ Oil Interceptors.OM}} | {{6.09Catch Basins / Man Holes/ Oil Interceptors.OM10k}} | {{6.09Catch Basins / Man Holes/ Oil Interceptors.Cap10k}} | Comment only if Joint Responsibility is determined | 6.09
6.1 | Surface Water Drainage (Ditches, Culverts, storm water retention ponds, etc.) . | Including ditches, culverts, berms and surface configurations required to facilitate surface water drainage but excluding underground drainage systems. | {{6.1Surface Water Drainage Ditches Culverts storm water retention ponds etc. . .FC}} | {{6.1Surface Water Drainage Ditches Culverts storm water retention ponds etc. . .OM}} | {{6.1Surface Water Drainage Ditches Culverts storm water retention ponds etc. . .OM10k}} | {{6.1Surface Water Drainage Ditches Culverts storm water retention ponds etc. . .Cap10k}} | Comment only if Joint Responsibility is determined | 6.1
6.11 | Docks and Wharfs | Construction associated with launching/maintaining water craft or providing access to a body of water. | {{6.11Docks and Wharfs.FC}} | {{6.11Docks and Wharfs.OM}} | {{6.11Docks and Wharfs.OM10k}} | {{6.11Docks and Wharfs.Cap10k}} | Comment only if Joint Responsibility is determined | 6.11
6.12 | Sewage distribution piping | Underground piping outside of building footprint boundaries, including manholes, for sewage collection and flow to pumping stations and sewage treatment plant | {{6.12Sewage distribution piping.FC}} | {{6.12Sewage distribution piping.OM}} | {{6.12Sewage distribution piping.OM10k}} | {{6.12Sewage distribution piping.Cap10k}} | Comment only if Joint Responsibility is determined | 6.12
6.13 | Secured Program Area (e.g.. enclosed compound areas) | A controlled area confined by barriers that is used primarily for an intended program. | {{6.13Secured Program Area e.g.. enclosed compound areas.FC}} | {{6.13Secured Program Area e.g.. enclosed compound areas.OM}} | {{6.13Secured Program Area e.g.. enclosed compound areas.OM10k}} | {{6.13Secured Program Area e.g.. enclosed compound areas.Cap10k}} | Comment only if Joint Responsibility is determined | 6.13
6.14 | Infrastructure for cabling / fibre optic conduits | Infrastructure for cabling / fibre optic conduits to the building. | {{6.14Infrastructure for cabling / fibre optic conduits.FC}} | {{6.14Infrastructure for cabling / fibre optic conduits.OM}} | {{6.14Infrastructure for cabling / fibre optic conduits.OM10k}} | {{6.14Infrastructure for cabling / fibre optic conduits.Cap10k}} | Comment only if Joint Responsibility is determined | 6.14
6.15 | Other |  | {{6.15Other.FC}} | {{6.15Other.OM}} | {{6.15Other.OM10k}} | {{6.15Other.Cap10k}} | Comment only if Joint Responsibility is determined | 6.15
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
7 | HORTICULTURE | Exterior and interior horticultural maintenance. | [5 empty] | 7
7.1 | Roads and Grounds | Grass cutting and horticulture maintenance etc. | {{7.01Roads and Grounds.FC}} | {{7.01Roads and Grounds.OM}} | {{7.01Roads and Grounds.OM10k}} | {{7.01Roads and Grounds.Cap10k}} | Comment only if Joint Responsibility is determined | 7.01
7.2 | Interior Plants, Plantings and Arrangements | Interior ornamental and decorative plants, planting, flowers and arrangements. | {{7.02Interior Plants Plantings and Arrangements.FC}} | {{7.02Interior Plants Plantings and Arrangements.OM}} | {{7.02Interior Plants Plantings and Arrangements.OM10k}} | {{7.02Interior Plants Plantings and Arrangements.Cap10k}} | Comment only if Joint Responsibility is determined | 7.02
7.3 | Exterior Landscaping | Including lawns, grassed and planted areas, tree maintenance, hedges, shrubbery, flowerbeds and arrangements. | {{7.03Exterior Landscaping .FC}} | {{7.03Exterior Landscaping .OM}} | {{7.03Exterior Landscaping .OM10k}} | {{7.03Exterior Landscaping .Cap10k}} | Comment only if Joint Responsibility is determined | 7.03
7.4 | Horticultural and Greenhouse Products | Including the development, rearing, treatment of plants, shrubs and flowers. Excluding work to building structure. | {{7.04Horticultural and Greenhouse Products.FC}} | {{7.04Horticultural and Greenhouse Products.OM}} | {{7.04Horticultural and Greenhouse Products.OM10k}} | {{7.04Horticultural and Greenhouse Products.Cap10k}} | Comment only if Joint Responsibility is determined | 7.04
7.5 | Other |  | {{7.05Other.FC}} | {{7.05Other.OM}} | {{7.05Other.OM10k}} | {{7.05Other.Cap10k}} | Comment only if Joint Responsibility is determined | 7.05
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
8 | ENVIRONMENTAL MANAGEMENT | The provision and/or management of plant, equipment, utility, or services for use of energy or environmental sensitive materials, including the consumption analysis and cost reduction of utilities, optimizing recycling for reduction in waste, and monitoring and control of environmental hazardous materials and substances. | [5 empty] | 8
8.1 | Asbestos Abatement & Monitoring | Provision of services for the monitoring, inspection, testing, assessment and abatement of asbestos associated with an installation or building. | {{8.01Asbestos Abatement / Monitoring.FC}} | {{8.01Asbestos Abatement / Monitoring.OM}} | {{8.01Asbestos Abatement / Monitoring.OM10k}} | {{8.01Asbestos Abatement / Monitoring.Cap10k}} | Comment only if Joint Responsibility is determined | 8.01
8.2 | Indoor Air Quality Monitoring | Provision of services for the monitoring, testing, assessment and correction for air quality in a building. | {{8.02Indoor Air Quality Monitoring.FC}} | {{8.02Indoor Air Quality Monitoring.OM}} | {{8.02Indoor Air Quality Monitoring.OM10k}} | {{8.02Indoor Air Quality Monitoring.Cap10k}} | IO responsible for Temperature, Humidity and CO2. All other testing and monitoring is the responsibility of the Ministry. | 8.02
8.3 | Mould Management | Provision of services for the monitoring, inspection, testing, assessment, and abatement of mould associated with an installation or building. | {{8.03Mould Management.FC}} | {{8.03Mould Management.OM}} | {{8.03Mould Management.OM10k}} | {{8.03Mould Management.Cap10k}} | responsibilty to be determined depending on the source | 8.03
8.4 | PCB Storage & Disposal | Provision of services for the monitoring, inventory, inspection, testing, storage and disposal of PCB associated with an installation or building. | {{8.04PCB Storage / Disposal.FC}} | {{8.04PCB Storage / Disposal.OM}} | {{8.04PCB Storage / Disposal.OM10k}} | {{8.04PCB Storage / Disposal.Cap10k}} | Comment only if Joint Responsibility is determined | 8.04
8.5 | Chemical Handling (CFC’s Halon, Mercury, etc.) | Provision of services for the monitoring, handling, inspection, storage and transport of chemicals associated with an installation and/or building. | {{8.05Chemical Handling CFCs Halon Mercury etc..FC}} | {{8.05Chemical Handling CFCs Halon Mercury etc..OM}} | {{8.05Chemical Handling CFCs Halon Mercury etc..OM10k}} | {{8.05Chemical Handling CFCs Halon Mercury etc..Cap10k}} | Comment only if Joint Responsibility is determined | 8.05
8.6 | Hazardous Waste Removal (e.g. biological, chemical) | Provision of services for the monitoring, handling, storage, transporting and proper disposal of hazardous waste. | {{8.06Hazardous Waste Removal e.g. biological chemical.FC}} | {{8.06Hazardous Waste Removal e.g. biological chemical.OM}} | {{8.06Hazardous Waste Removal e.g. biological chemical.OM10k}} | {{8.06Hazardous Waste Removal e.g. biological chemical.Cap10k}} | Comment only if Joint Responsibility is determined | 8.06
8.7 | Other |  | {{8.07Other.FC}} | {{8.07Other.OM}} | {{8.07Other.OM10k}} | {{8.07Other.Cap10k}} | Comment only if Joint Responsibility is determined | 8.07
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
9 | BUILDING SERVICES | The provision of tenant services required to ensure an adequate standard of cleanliness, building security and parking control. | [5 empty] | 9
9.1 | Interior Janitorial Cleaning | The cleaning of a building interior, including the cleaning of fixtures, blinds, interior glass to partitions and doors, elevator cabs, spot cleaning of walls and woodwork and specialized systems (built-in vacuum) provided solely for janitorial cleaning purposes. | {{9.01Interior Janitorial Cleaning.FC}} | {{9.01Interior Janitorial Cleaning.OM}} | {{9.01Interior Janitorial Cleaning.OM10k}} | {{9.01Interior Janitorial Cleaning.Cap10k}} | Comment only if Joint Responsibility is determined | 9.01
9.2 | High Level Cleaning (above 10 feet) | Extra cleaning required above 10 feet | {{9.02High Level Cleaning above 10 feet.FC}} | {{9.02High Level Cleaning above 10 feet.OM}} | {{9.02High Level Cleaning above 10 feet.OM10k}} | {{9.02High Level Cleaning above 10 feet.Cap10k}} | Comment only if Joint Responsibility is determined | 9.02
9.3 | Waste and Garbage Removal | Garbage and waste material removal and disposal including system specifically provided for this purpose. | {{9.03Waste and Garbage Removal.FC}} | {{9.03Waste and Garbage Removal.OM}} | {{9.03Waste and Garbage Removal.OM10k}} | {{9.03Waste and Garbage Removal.Cap10k}} | Comment only if Joint Responsibility is determined | 9.03
9.4 | Waste Recycling | Waste Recycling –includes composting (incl paper towel composting, organic. | {{9.04Waste Recycling.FC}} | {{9.04Waste Recycling.OM}} | {{9.04Waste Recycling.OM10k}} | {{9.04Waste Recycling.Cap10k}} | Comment only if Joint Responsibility is determined | 9.04
9.5 | Window Cleaning interior/ exterior | Cleaning of windows and glazing. | {{9.05Window Cleaning interior/ exterior.FC}} | {{9.05Window Cleaning interior/ exterior.OM}} | {{9.05Window Cleaning interior/ exterior.OM10k}} | {{9.05Window Cleaning interior/ exterior.Cap10k}} | Comment only if Joint Responsibility is determined | 9.05
9.6 | Building Security | Provision of services for the normal guarding of a facility and including systems associated with the provision of the service but excluding electrically operated locking systems, burglar and intrusion alarm systems, cams access systems. | {{9.06Building Security.FC}} | {{9.06Building Security.OM}} | {{9.06Building Security.OM10k}} | {{9.06Building Security.Cap10k}} | Comment only if Joint Responsibility is determined | 9.06
9.7 | Parking Control | Provision of services for the control of parking, including mechanized systems provided for the purpose. Payment control. | {{9.07Parking Control.FC}} | {{9.07Parking Control.OM}} | {{9.07Parking Control.OM10k}} | {{9.07Parking Control.Cap10k}} | Comment only if Joint Responsibility is determined | 9.07
9.8 | Pest Control | Provision of services for the control of pests including insects and rodents. | {{9.08Pest Control.FC}} | {{9.08Pest Control.OM}} | {{9.08Pest Control.OM10k}} | {{9.08Pest Control.Cap10k}} |  | 9.08
9.9 | Utilities Payment: Electricity | The payment and provision of a utilities management program for the monitoring, analysis and reduction of utilities. | {{9.09Utilities Payment Electricity.FC}} | {{9.09Utilities Payment Electricity.OM}} | {{9.09Utilities Payment Electricity.OM10k}} | {{9.09Utilities Payment Electricity.Cap10k}} | Comment only if Joint Responsibility is determined | 9.09
9.1 | Utilities Payment: Gas | The payment and provision of a utilities management program for the monitoring, analysis and reduction of utilities. | {{9.1Utilities Payment Gas.FC}} | {{9.1Utilities Payment Gas.OM}} | {{9.1Utilities Payment Gas.OM10k}} | {{9.1Utilities Payment Gas.Cap10k}} | Comment only if Joint Responsibility is determined | 9.1
9.11 | Utilities Payment: Water/Sewage | The payment and provision of a utilities management program for the monitoring, analysis and reduction of utilities. | {{9.11Utilities Payment Water/Sewage.FC}} | {{9.11Utilities Payment Water/Sewage.OM}} | {{9.11Utilities Payment Water/Sewage.OM10k}} | {{9.11Utilities Payment Water/Sewage.Cap10k}} | Comment only if Joint Responsibility is determined | 9.11
9.12 | Utilities Payment: Other | The payment and provision of a utilities management program for the monitoring, analysis and reduction of utilities including sub meters. | {{9.12Utilities Payment Other.FC}} | {{9.12Utilities Payment Other.OM}} | {{9.12Utilities Payment Other.OM10k}} | {{9.12Utilities Payment Other.Cap10k}} | Comment only if Joint Responsibility is determined | 9.12
9.13 | Other |  | {{9.13Other.FC}} | {{9.13Other.OM}} | {{9.13Other.OM10k}} | {{9.13Other.Cap10k}} | Comment only if Joint Responsibility is determined | 9.13
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
10 | COMMON ADMINISTRATION & SERVICES | Services not forming a part of a building or structure, but provided for the common use of occupants in meeting tenant needs. Services may be provided on a charge back basis not as a rental pass through. | [5 empty] | 10
10.1 | Shipping, Receiving and Manpower Assistance | Receipt and dispatch of goods to and from a building, manual assistance in moving of articles, goods and furniture within an installation, building or structure, the setting up and movement of furniture for board rooms, meeting and seminar rooms. | {{10.01Shipping Receiving and Manpower Assistance.FC}} | {{10.01Shipping Receiving and Manpower Assistance.OM}} | {{10.01Shipping Receiving and Manpower Assistance.OM10k}} | {{10.01Shipping Receiving and Manpower Assistance.Cap10k}} | Comment only if Joint Responsibility is determined | 10.01
10.2 | Mail Room Services | The collection, receipt, sorting and distribution of incoming and outgoing mail from and for the Canada Post Office. Collection, sorting and distribution of mail internal to an installation, building or structure. | {{10.02Mail Room Services.FC}} | {{10.02Mail Room Services.OM}} | {{10.02Mail Room Services.OM10k}} | {{10.02Mail Room Services.Cap10k}} | Comment only if Joint Responsibility is determined | 10.02
10.3 | Duplicating Services | The provision of photocopying, offset printing and collating services. | {{10.03Duplicating Services.FC}} | {{10.03Duplicating Services.OM}} | {{10.03Duplicating Services.OM10k}} | {{10.03Duplicating Services.Cap10k}} | Comment only if Joint Responsibility is determined | 10.03
10.4 | Telephone Switchboard | The interception of incoming telephone calls to a common or centrally designated telephone number and the redirection or transfer to an appropriate extension number. | {{10.04Telephone Switchboard.FC}} | {{10.04Telephone Switchboard.OM}} | {{10.04Telephone Switchboard.OM10k}} | {{10.04Telephone Switchboard.Cap10k}} | Comment only if Joint Responsibility is determined | 10.04
10.5 | Cafeteria Food and Beverage Service Facilities, including refrigerators/freezers (Inmate and Staff) | Providing for the distribution and/or sale of foods and beverages through cafeterias, vending machines and manned lunchroom and sandwich facilities. Excluding self-operated kitchen or lunchroom facilities. | {{10.05Cafeteria Food and Beverage Service Facilities including refrigerators/freezers Inmate and Staff.FC}} | {{10.05Cafeteria Food and Beverage Service Facilities including refrigerators/freezers Inmate and Staff.OM}} | {{10.05Cafeteria Food and Beverage Service Facilities including refrigerators/freezers Inmate and Staff.OM10k}} | {{10.05Cafeteria Food and Beverage Service Facilities including refrigerators/freezers Inmate and Staff.Cap10k}} | Comment only if Joint Responsibility is determined | 10.05
10.6 | Moving | Provides for the transportation and relocation of equipment, plant, materials and furniture resulting from a change in a program’s space requirements. Including packing, loading, unloading, unpacking and setting in place. | {{10.06Moving.FC}} | {{10.06Moving.OM}} | {{10.06Moving.OM10k}} | {{10.06Moving.Cap10k}} | Comment only if Joint Responsibility is determined | 10.06
10.7 | Reception | Provides for a centralized information source directing of visitors and responding to enquiries. | {{10.07Reception.FC}} | {{10.07Reception.OM}} | {{10.07Reception.OM10k}} | {{10.07Reception.Cap10k}} | Comment only if Joint Responsibility is determined | 10.07
10.8 | Shredding | Storage area/components for shredding of program related documents. | {{10.08Shredding.FC}} | {{10.08Shredding.OM}} | {{10.08Shredding.OM10k}} | {{10.08Shredding.Cap10k}} | Comment only if Joint Responsibility is determined | 10.08
10.9 | Other |  | {{10.09Other.FC}} | {{10.09Other.OM}} | {{10.09Other.OM10k}} | {{10.09Other.Cap10k}} | Comment only if Joint Responsibility is determined | 10.09
| Component / System / Service | Definition | Functional Control | Operations & Maintenance Resp. | O&M < 10K | Capital >10K | Comments
11 | TENANT PROGRAM EQUIPMENT | Specialized system and/or equipment not generally forming part of a base building component and identified as “a system and/or item of equipment portable or fixed in place to specifically provide an activity directly related to the tenant’s program and not required to support normal/base building operations or functions. (E.g. Laundry equipment, electrically operated locks, intrusion alarm systems, T.V. systems, laboratory systems in fume hoods, benches, etc., kitchen equipment not affiliated with building common cafeteria, trades and garage equipment, farming or nursery equipment for irrigation and greenhouses, industrial processing equipment, refrigeration and freezers, computer terminals and special HVAC equipment, and car washing equipment, special security equipment).” | [5 empty] | 11
11.1 | Security Systems (e.g. card access) | Card readers associated with controlled access system. | {{11.01Security Systems e.g. card access.FC}} | {{11.01Security Systems e.g. card access.OM}} | {{11.01Security Systems e.g. card access.OM10k}} | {{11.01Security Systems e.g. card access.Cap10k}} | Comment only if Joint Responsibility is determined | 11.01
11.2 | Burglar and Intrusion Alarm Systems | Security systems for monitoring/controlling window/door access and motion sensors. | {{11.02Burglar and Intrusion Alarm Systems.FC}} | {{11.02Burglar and Intrusion Alarm Systems.OM}} | {{11.02Burglar and Intrusion Alarm Systems.OM10k}} | {{11.02Burglar and Intrusion Alarm Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 11.02
11.3 | Electrically Operated Locking Systems | Automated timed door locking system connected to building security. | {{11.03Electrically Operated Locking Systems.FC}} | {{11.03Electrically Operated Locking Systems.OM}} | {{11.03Electrically Operated Locking Systems.OM10k}} | {{11.03Electrically Operated Locking Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 11.03
11.4 | Specialized Door Hardware | Door features that are program specific (i.e.. grills, food tray access etc.). | {{11.04Specialized Door Hardware.FC}} | {{11.04Specialized Door Hardware.OM}} | {{11.04Specialized Door Hardware.OM10k}} | {{11.04Specialized Door Hardware.Cap10k}} | Comment only if Joint Responsibility is determined | 11.04
11.5 | TV Systems | Associated components for viewing monitors. | {{11.05TV Systems.FC}} | {{11.05TV Systems.OM}} | {{11.05TV Systems.OM10k}} | {{11.05TV Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 11.05
11.6 | Lab Equipment & Furnishings (e.g. fume hoods) | Program specific lab features and equipment. | {{11.06Lab Equipment / Furnishings e.g. fume hoods.FC}} | {{11.06Lab Equipment / Furnishings e.g. fume hoods.OM}} | {{11.06Lab Equipment / Furnishings e.g. fume hoods.OM10k}} | {{11.06Lab Equipment / Furnishings e.g. fume hoods.Cap10k}} | Comment only if Joint Responsibility is determined | 11.06
11.7 | Computer Room Equipment (e.g. climate control, UPS) | IT room components required for communications and computer support. | {{11.07Computer Room Equipment e.g. climate control UPS.FC}} | {{11.07Computer Room Equipment e.g. climate control UPS.OM}} | {{11.07Computer Room Equipment e.g. climate control UPS.OM10k}} | {{11.07Computer Room Equipment e.g. climate control UPS.Cap10k}} | Comment only if Joint Responsibility is determined | 11.07
11.8 | Signal and Communicating Systems | Clock and program systems, intercommunicating systems, public address systems, paging systems and enunciator systems not part of main fire alarm system. | {{11.08Signal and Communicating Systems.FC}} | {{11.08Signal and Communicating Systems.OM}} | {{11.08Signal and Communicating Systems.OM10k}} | {{11.08Signal and Communicating Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 11.08
11.9 | Bilingual/Wayfinding/Program Signage | Signage that is spoken, written, or containing similar information in two different languages. As well as signs, maps, and other graphic or audible methods used to convey location and directions to travelers. | {{11.09Bilingual/Wayfinding/Program Signage.FC}} | {{11.09Bilingual/Wayfinding/Program Signage.OM}} | {{11.09Bilingual/Wayfinding/Program Signage.OM10k}} | {{11.09Bilingual/Wayfinding/Program Signage.Cap10k}} | Comment only if Joint Responsibility is determined | 11.09
11.1 | Fuel Storage Tanks - Dispensing (Above & Below Grade) | Provision of services for the monitoring, inspection, testing, storage and clean-up of all fossil fuel associated with an installation or building. | {{11.1Fuel Storage Tanks Dispensing Above / Below Grade.FC}} | {{11.1Fuel Storage Tanks Dispensing Above / Below Grade.OM}} | {{11.1Fuel Storage Tanks Dispensing Above / Below Grade.OM10k}} | {{11.1Fuel Storage Tanks Dispensing Above / Below Grade.Cap10k}} | Comment only if Joint Responsibility is determined | 11.1
11.11 | Farm Related Equipment | Heavy equipment specific to the operation of workable agricultural lands. | {{11.11Farm Related Equipment.FC}} | {{11.11Farm Related Equipment.OM}} | {{11.11Farm Related Equipment.OM10k}} | {{11.11Farm Related Equipment.Cap10k}} | Comment only if Joint Responsibility is determined | 11.11
11.12 | Other Program Related Equipment, systems or services | Unique program specific equipment - example central vac | {{11.12Other Program Related Equipment systems or services.FC}} | {{11.12Other Program Related Equipment systems or services.OM}} | {{11.12Other Program Related Equipment systems or services.OM10k}} | {{11.12Other Program Related Equipment systems or services.Cap10k}} | Comment only if Joint Responsibility is determined | 11.12
11.13 | Data and Communication Infrastructure | Equipment for the transfer of information between one or more points that are not connected by an electrical conductor (wires) and all associated equipment. As well as telecommunications network providing an economical implementation of multiple services (phone, internet, multi media). | {{11.13Data and Communication Infrastructure.FC}} | {{11.13Data and Communication Infrastructure.OM}} | {{11.13Data and Communication Infrastructure.OM10k}} | {{11.13Data and Communication Infrastructure.Cap10k}} | Comment only if Joint Responsibility is determined | 11.13
11.14 | Solar Equipment | Panels, inverters, batteries | {{11.14Solar Equipment.FC}} | {{11.14Solar Equipment.OM}} | {{11.14Solar Equipment.OM10k}} | {{11.14Solar Equipment.Cap10k}} | Comment only if Joint Responsibility is determined | 11.14
11.15 | UPS | Large battery bank or desktop uninterruptable power supply | {{11.15UPS.FC}} | {{11.15UPS.OM}} | {{11.15UPS.OM10k}} | {{11.15UPS.Cap10k}} | Comment only if Joint Responsibility is determined | 11.15
11.16 | Data Center / IT Cooling & Humidification Systems | Dedicated cooling and humidification control for data center and IT closet applications. | {{11.16Data Center / IT Cooling / Humidification Systems.FC}} | {{11.16Data Center / IT Cooling / Humidification Systems.OM}} | {{11.16Data Center / IT Cooling / Humidification Systems.OM10k}} | {{11.16Data Center / IT Cooling / Humidification Systems.Cap10k}} | Comment only if Joint Responsibility is determined | 11.16
11.17 | Data Center / IT Fire Suppression (Clean Agent / Halon Gas ) | These types of systems provide immediate fire suppression with relatively short system and business process recovery times. | {{11.17Data Center / IT Fire Suppression Clean Agent / Halon Gas .FC}} | {{11.17Data Center / IT Fire Suppression Clean Agent / Halon Gas .OM}} | {{11.17Data Center / IT Fire Suppression Clean Agent / Halon Gas .OM10k}} | {{11.17Data Center / IT Fire Suppression Clean Agent / Halon Gas .Cap10k}} | Comment only if Joint Responsibility is determined | 11.17
11.18 | Other |  | {{11.18Other.FC}} | {{11.18Other.OM}} | {{11.18Other.OM10k}} | {{11.18Other.Cap10k}} | Comment only if Joint Responsibility is determined | 11.18
Note on B29: CBRE: If Roof Anchors exist at the building t responsibility falls to IO.
Note on B49: CBRE: IO Responsibility if building is not fed by municipal services.
Note on B65: CBRE: If the generator is serviced under contract with IO/CBRE mark column E as IO. All repairs to be completed under PSIF.